## Slide 1: Ενεργειακός Σχεδιασμός
#7
Ο Ρόλος της Θερμικής Μάζας στα κτίρια

## Slide 2: Θερμική αδράνεια Thermal inertia
Η σπηλιά
The cave
≠
η σκηνή
The tent

## Slide 4
Διαφορά μέγιστης
θερμοκρασίας (6h)
Maximum difference
temperature
60-80C διαφορά
ΗΜΕΡΑ ΝΥΧΤΑ ΗΜΕΡΑ
ΘΕΡΜΙΚΗ ΜΑΖΑ – THERMIC MASS

## Slide 5
ΘΕΡΜΙΚΗ ΜΑΖΑ
ΑΝΗΓΜΕΝΗ ΘΕΡΜΟΧΩΡΗΤΙΚΟΤΗΤΑ – Thermal capacity of material
Για κάθε επιφάνεια της ζώνης (που έρχεται σε επαφή με τον αέρα)
κ= Σ ρi Ci di
Πυκνότητα
density
Ειδική θερμοχωρητικότητα
Thermic Capacity
Πάχος
thickness
ΠΡΟΣΟΧΗ : this formula is used only :
Βάθους 10 cm (thickness is less than..) ή
να φτάσουμε σε μονωτικό στρώμα
Reach insulation layer ή
να φτάσουμε την μέση της κατασκευής
Reach half of the wall
Ανηγμένη θερμοχωρητικότητα=
Σ κi Αi
Αf
Για κάθε τοίχο στη ζώνη
For each surface of material in contact with air

## Slide 6
ΘΕΡΜΙΚΗ ΜΑΖΑ
THERMIC MASS
max Te
min Te
Xρονική υστέρηση 8-12 h
Time delay
max Ti
min Ti
Eξωτερικό
OUTSIDE
Εσωτερικό
INSIDE
Παράγοντας υστέρησης= (maxTi-minTi)/(maxTe-minTe)
Time Delay factor

## Slide 11
ΘΕΡΜΙΚΗ ΜΑΖΑ

## Slide 13
Murs Trombes

## Slide 14
One of the earliest solar houses with Trombe wall designed by Jaques Michel and Félix Trombe.

## Slide 17
Trombe Walls in Low-Energy Buildings: Practical Experiences; Preprint
P. A. Torcellini, Shanti PlessPublished 2004Environmental Science, Engineering
Low-energy buildings today improve on passive solar design by incorporating a thermal storage and delivery system called a Trombe wall. Trombe walls were integrated into the envelope of a recently completed Visitor Center at Zion National Park and a site entrance building at the National Wind Technology Center located at the National Renewable Energy Laboratory. NREL helped to design these commercial buildings to minimize energy consumption, using Trombe walls as an integral part of their design.

## Slide 19
Amsterdam's Noord borough is going above and beyond to teach students about gardening and the environment. Architecture studio Bureau SLA completed the Nature & Environment Learning Center (NME), a net-zero energy building that serves as a learning space and an educational tool. The solar-powered structure’s energy-efficient features were designed to be highly visible and tangible to all users.